## Web View Mode
Doubly Reinforced Concrete Design Calculator
|  | Instructions: Input all the required variables in the white cells. Cells in grey and blue serve as the output. | [8 empty] | *Asterisks indicate optional inputs and may be mitigated by inputing on the blue cells
Settings |  |  | Beam Properties | [6 empty] | Beam Properties
Round Decimals to |  |  | Length |  | 8 |  |  | mm |  | Stirup Diameter |  |  |  |  | mm
3 |  |  | Base |  | 300 |  |  | mm |  | Concrete Cover |  |  |  |  | mm
|  |  | Actual Depth1 |  | 650 |  |  | mm |  | Tension bar dia. |  | 32 |  |  | mm
β1 |  |  | d' |  | 75 |  |  |  |  | Compression bar dia. |  | 28 |  |  | mm
0.85 |  |  | Effective Depth1 |  | 700 |  |  | mm
Steel Modulus | [9 empty] | Factored Moment |  |  |  | 1 | Support Condition
|  |  | Concrete Properties | [6 empty] | Dead Load |  | 9 | kN/m
200000 | [9 empty] | Live Load |  | 6 | kN/m
|  |  | fy |  | 420 |  |  | Mpa |  | Beam Self-Weight |  | 0.195 | m2
Φ |  |  | fc' |  | 28 |  |  | MPa |  | Factored Moment | w | 20.634 | kN/m
0.9 |  |  | Ultimate Moment |  | 1355.82 |  |  | kN-m |  | Factored Moment | Moment | 32.2728 | kN-m
TRUE
Simply Supported | 165.072
Cantilever | 660.288 |  | Computations | [10 empty] | Skip to Results
Fixed Ends | 110.048
Propped Beam | 165.072 |  |  | ρmax | [5 empty] | Nominal Moment (Mn)
Uniform Load
Increasing Load | [5 empty] | ρmax | = | 0.020643 |  |  | Mn | = | 1506.467 |  |  | kN-m
Triangular Right
Asmax
[6 empty] | As1 | = | 4335 | mm2
Mumax
[6 empty] | Mumax | = | 938.116 | kN-m | Mumax | < Mn |  | Compression Steel Required
Nominal Moment (Mn)
[6 empty] | Mn1 | = | 1042.351 | kN-m |  | Mn2 | = | 464.116 |  |  | kN-m
Area of Steel
[6 empty] | As' | = | 1768.061 | mm2 |  | As | = | 6103.061 |  |  | mm2
Steel Reinforcements
[6 empty] | n | = | 8 |  |  | n | = | 3
Results
[7 empty] | As: | Use 8-32 mm Ø |  | Tension Bars
[7 empty] | As': | Use 3-28 mm Ø |  | Compression Bars
Calculate Factored Moments
"ρ" _𝑚𝑎𝑥=0.85𝑓𝑐′/𝑓𝑦 𝛽_1 (3/7)
〖"As" 〗_𝑚𝑎𝑥="ρ" _𝑚𝑎𝑥 𝑏𝑑
〖"Mu" 〗_𝑚𝑎𝑥=〖𝛷〖𝑏𝑑〗^2 𝑓_𝑦 ρ〗_𝑚𝑎𝑥 (1−(ρ_𝑚𝑎𝑥 𝑓_𝑦)/1.7𝑓𝑐′)
"M" _𝑛=𝑀_𝑢/Φ
"M" _𝑛1=〖𝑀𝑢〗_𝑚𝑎𝑥/Φ
"M" _𝑛2=𝑀_𝑛−𝑀_𝑛1
"M" _𝑛2=𝐴_𝑠′𝑓_𝑦 (𝑑−𝑑′)
"A" _𝑠=𝐴_𝑠𝑚𝑎𝑥+𝐴_𝑠′
𝑛=𝐴_𝑠/(π/4 〖(𝐷_𝑡𝑒𝑛𝑠𝑖𝑜𝑛)〗^2 )
𝑛=𝐴_𝑠′/(π/4 〖(𝐷_𝑐𝑜𝑚𝑝𝑟𝑒𝑠𝑠𝑖𝑜𝑛)〗^2 )
"A" _𝑠′=𝑀_𝑛2/(𝑓_𝑦 (𝑑−𝑑′) )

## Tabular Mode
Doubly Reinforced Concrete Design Calculator
Instructions: Input all the required variables in the white cells. Cells in grey and blue serve as the output.
|  | Beam Properties |  |  |  |  | Settings
|  | Length |  | 9 |  | mm | Stirup Diameter |  | 10 |  | mm
|  | Base |  | 300 |  | mm | Φ |  | 0.9 |  | mm
|  | Actual Depth1 |  |  |  | mm | β1 |  | 0.85 |  | mm
|  | d' |  | 75 |  |  | Steel Modulus |  | 200000
|  | Effective Depth1 |  | 700 |  | mm | Round Decimals to |  | 2 |  | Places
Concrete Properties
|  | fy |  | 420 |  | Mpa | ρmax |  | 0.020643
|  | fc' |  | 28 |  | MPa | Asmax |  | 4335
|  | Factored Moment (Mu) |  | 1355.82 |  | kN-m | Mumax |  | 938.12
|  | Nominal Moment (Mn) |  | 1506.4667 |  | kN-m |  | Compression Steel Required
Beam Length | Tension bar Diameter (mm) | No. of Tension bars | Spacing Required (T) | Compression bar Diameter (mm) | No. of Compression Bars | Spacing Required (C) | Sitrrup Diameter | As | As' | Mn1 | Mn2
9 | 10 | 78 | 25 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 10 | 78 | 25 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 12 | 54 | 25 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 16 | 31 | 25 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 20 | 20 | 25 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 25 | 13 | 25 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 28 | 10 | 50 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 32 | 8 | 50 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 36 | 6 | 75 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 40 | 5 | 75 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 10 | 23 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 12 | 16 | 25 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 16 | 9 | 50 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 20 | 6 | 75 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 25 | 4 | 100 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 28 | 3 | 125 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 32 | 3 | 150 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 36 | 2 | 175 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 40 | 2 | 225 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
9 | 50 | 4 | 100 | 50 | 1 | 350 | 10 | 6103.04 | 1768.04 | 1042.3556 | 464.1111
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## PrintedSummary
INVOICE
HLP Manufacturing INC
123 45th Street | DATE: | 2024-11-21
Chicago, IL 54321 | INVOICE # | 100
(312) 555-0113 | BILL TO: | Jozi Kos
hlpmanufacturing@example.com |  | Robotine Manufacturing
89 Pacific Ave
San Francisco, CA 65432
(703) 555-0157
CUSTOM MACHINE PARTS MANUFACTURING
DESCRIPTION |  | AMOUNT
Custom machine parts |  | 2250
Injection mold tools |  | 1250
Steel alloy sheets |  | 3000
Machining services |  | 4500
Quality inspection |  | 250
| SUBTOTAL | 11250
| TAX RATE | 0%
Make all checks payable to HLP Manufacturing INC. | SALES TAX | 0
If you have any questions concerning this invoice contact Angela at (312) 555-0113 or angela@example.com | OTHER | 0
THANK YOU FOR YOUR BUSINESS! | TOTAL | 11250